Building Inspection Sheets

The following inspections sheets can be tailored to any building or facility. Each page is written as a Microsoft Word document with tables. Ample space is left for addition. Also, rows and/or columns can be easily added as needed.

Description of Columns

LOCATION - The Location is based on using a map grid of your facility. This map should be part of the inspection sheets.

METHODOLOGY – This item shows the urgency of the problem. Emergency requires immediate service. Delayed items are noted. Projects can also be noted.

ITEM – Species the specific unit or device.

NOTES – Assists the inspector and service personnel to clarify an item.

Exterior Inspection	Date _____________  Building Name _____________________

Sidewalks, driveway, lawn, lighting		Inspector ___________________________

| SIDEWALKS | Location | Method | Item | Notes |
| --- | --- | --- | --- | --- |
| _____ Chipping Walkway |  |  |  |  |
| _____ Cracking Concrete |  |  |  |  |
| _____ Crumbling Concrete |  |  |  |  |
| _____ Accumulating Weeds |  |  |  |  |
| DRIVEWAY & PARKING LOTS |  |  |  |  |
| _____ Chipping Asphalt |  |  |  |  |
| _____ Cracking Asphalt |  |  |  |  |
| _____ Crumbling Asphalt |  |  |  |  |
| _____ Sunken Pavement |  |  |  |  |
| _____ Potholes |  |  |  |  |
| _____ Fading Striping & Markings |  |  |  |  |
| _____ Broken Speed Bumps |  |  |  |  |
| _____ Deteriorating Curbs |  |  |  |  |
| _____ Broken Wheel Stops |  |  |  |  |
| LAWNS, TREES, & PLANTS |  |  |  |  |
| _____ Diseased, Thinning, or Spots |  |  |  |  |
| _____ Accumulating Debris |  |  |  |  |
| _____ Grass Height |  |  |  |  |
| _____ Dead Limbs, branches, leaves |  |  |  |  |
| _____ Pruning or trimming |  |  |  |  |
| _____ Accumulating Weeds |  |  |  |  |
| _____ Poor shape or growth patterns |  |  |  |  |
| _____ Traffic patterns in lawn |  |  |  |  |
| _____ Insect Damage |  |  |  |  |
| EXTERIOR LIGHTING |  |  |  |  |
| _____ Burned out Lamps & bulbs |  |  |  |  |
| _____ Low Light levels |  |  |  |  |
| _____ Flickering Lamps |  |  |  |  |
| _____ Pathways & walkways poorly lit |  |  |  |  |
| CATCH BASINS & CONDUITS |  |  |  |  |
| _____ Pools of water in grass |  |  |  |  |
| _____ Pools of water on sidewalk |  |  |  |  |
| _____ Pools of water in parking areas |  |  |  |  |
| _____ Deteriorating Soil |  |  |  |  |
| _____ Deteriorating Walls |  |  |  |  |
| _____ Accumulating Debris |  |  |  |  |

Exterior Inspection	Date _____________  Building Name _____________________

Roof, windows, Building exterior		Inspector ___________________________

| ROOF & GUTTERS | Location | Method | Item | Notes |
| --- | --- | --- | --- | --- |
| ___ Roofing Material removed |  |  |  |  |
| ___ Holes in the roof |  |  |  |  |
| ___ Cracked or missing tar /caulk at seams |  |  |  |  |
| ___ Water Pooling |  |  |  |  |
| ___ Tree Rubbing Roof or Gutter |  |  |  |  |
| ___ Debris in gutter |  |  |  |  |
| ___ Rusty Gutter |  |  |  |  |
| ___ Damaged or missing Flashing |  |  |  |  |
| ___ Wavy / Sagging |  |  |  |  |
| ___ Missing Soffit or Fascia |  |  |  |  |
| EXTERIOR WALLS |  |  |  |  |
| ___ Holes or missing siding material |  |  |  |  |
| ___ Siding peeling or delaminating |  |  |  |  |
| ___ Mortar missing between bricks |  |  |  |  |
| ___ Masonry flakes |  |  |  |  |
| ___ Graffiti on Wall |  |  |  |  |
| ___ Caulk missing at joint |  |  |  |  |
| ___ Visible water damage or white spots on wall |  |  |  |  |
| ____ Mold or Algae growth |  |  |  |  |
| ____ Cracked, bubbled or peeling paint |  |  |  |  |
| ____ Nail Pops or rusty nail heads |  |  |  |  |
| ___ Evidence of insects or termites |  |  |  |  |
| WINDOWS |  |  |  |  |
| ____ Broken Window |  |  |  |  |
| ____ Fogging between panes |  |  |  |  |
| ____ Caulk missing or cracked |  |  |  |  |
| ____ Broken or cut screen |  |  |  |  |
| ____ Paint Cracked or chipped |  |  |  |  |
| ____ Sill sloped inward |  |  |  |  |

Exterior Inspection	Date _____________  Building Name _____________________

Exterior Doors, Foundation, Window Wells		Inspector ___________________________

| DOORS | Location | Method | Item | Notes |
| --- | --- | --- | --- | --- |
| ____ Damaged Door |  |  |  |  |
| ____ Graffiti on Door |  |  |  |  |
| ____ Door Hardware broken or damaged |  |  |  |  |
| ____ Paint Cracked or Chipped |  |  |  |  |
| ____ Lock Does not operate properly |  |  |  |  |
| ____ Threshold damaged |  |  |  |  |
| ____ Missing or damaged Weather stripping |  |  |  |  |
| ____ Closer Operates properly |  |  |  |  |
| FOUNDATION |  |  |  |  |
| ____ Cracks larger than ¼ inch |  |  |  |  |
| ___ Evidence of insects or termites |  |  |  |  |
| ____ Water Damage |  |  |  |  |
| WINDOW WELLS |  |  |  |  |
| ___ Standing Water |  |  |  |  |
| ___ Debris in Well |  |  |  |  |
| ___ Cracks into Building |  |  |  |  |

Interior Inspection	Date _____________  Building Name _____________________

Walls, Floors, Windows, Doors		Inspector ___________________________

| INTERIOR WALLS | Location | Method | Item | Notes |
| --- | --- | --- | --- | --- |
| __ Evidence of Moisture, Mold, Soft Spots |  |  |  |  |
| ___ Cracks |  |  |  |  |
| ___ Paint Chipping, Bubbling, Flaking |  |  |  |  |
| ___ Dirt, Debris |  |  |  |  |
| FLOORS |  |  |  |  |
| ___ Trip Hazard |  |  |  |  |
| ___ Sloping/ Sagging |  |  |  |  |
| ___ Carpet Torn |  |  |  |  |
| ___ Tile Missing |  |  |  |  |
| WINDOWS |  |  |  |  |
| ___ Open / Close Easily |  |  |  |  |
| ___ Sill Slopes Inward |  |  |  |  |
| ___ Window Opening Square |  |  |  |  |
| ___ Glazing Missing |  |  |  |  |
| ___ Locks operate properly |  |  |  |  |
| ___ Broken/ cracked Glass |  |  |  |  |
| ___ Paint Peeling |  |  |  |  |
| ___ Rotting Sill |  |  |  |  |
| ___ Drafty Window |  |  |  |  |
| DOORS |  |  |  |  |
| ___ Open / Close Easily |  |  |  |  |
| ___ Open/ Closes on it’s own |  |  |  |  |
| ___ Gaps evident when closed |  |  |  |  |
| ___ Paint or Varnish Chipping, Peeling or bubbling |  |  |  |  |
| ___ Mechanism works properly |  |  |  |  |
| ___ Holes in door |  |  |  |  |
| ___ Doors Not Square |  |  |  |  |
| STAIR CASE |  |  |  |  |
| ___ Sagging |  |  |  |  |
| ___ Noisy |  |  |  |  |
| ___ Movement evident |  |  |  |  |

Interior Inspection	Date _____________  Building Name _____________________

Electrical, Lighting, Plumbing		Inspector ___________________________

| ELECTRICAL | Location | Method | Item | Notes |
| --- | --- | --- | --- | --- |
| ___ Overloaded Outlets |  |  |  |  |
| ___ Frequent Fuse/ Breaker Trip |  |  |  |  |
| ___ Hot Areas |  |  |  |  |
| ___ Covers Missing |  |  |  |  |
| ___ Sparks When Plug pulled out |  |  |  |  |
| ___ Improper Ground |  |  |  |  |
| ___ GFIC Failed |  |  |  |  |
| ___ Improper use of Cord |  |  |  |  |
| LIGHTING |  |  |  |  |
| ___ Burned Out Bulb or Lamp |  |  |  |  |
| ___ Insufficient Light |  |  |  |  |
| PLUMBING |  |  |  |  |
| ___ Leaking Pipes |  |  |  |  |
| ___ Valve does not open / close properly |  |  |  |  |
| ___ Sink does not drain |  |  |  |  |
| ___ Toilet continues to run |  |  |  |  |
| ___ Toilet does not flush properly |  |  |  |  |
| ___ Faucet works properly |  |  |  |  |
| ___ Corrosion on Copper Pipes |  |  |  |  |
| BATHROOMS |  |  |  |  |
| ___ Softspots in walls or Floors |  |  |  |  |
| ___ Mold |  |  |  |  |
| ___ Missing Caulk |  |  |  |  |
| ___ Exhaust Fan operating Properly |  |  |  |  |

Basement Inspection	Date _____________  Building Name _____________________

Inspector ___________________________

|  | Location | Method | Item | Notes |
| --- | --- | --- | --- | --- |
| ___ Peeling Paint / Damp Walls |  |  |  |  |
| ___ Efflorescence on walls |  |  |  |  |
| ___ Rust on metal Parts/ nail heads |  |  |  |  |
| ___ Stains on Wall |  |  |  |  |
| ___ Musty Smell |  |  |  |  |
| ___ Hollow Sound Below Concrete |  |  |  |  |
| ___ Leakage from window wells |  |  |  |  |
| ___ Leakage under Doors |  |  |  |  |
| ___ Insect Damage or Evidence of insects |  |  |  |  |
| ___ Rotting Wood |  |  |  |  |
| ___ Water damage on Ceiling |  |  |  |  |
| ___ Saw Dust |  |  |  |  |
| BOILER |  |  |  |  |
| HVAC-Rooftop Units |  |  |  |  |
| HVAC-Split systems |  |  |  |  |
| HVAC-Chillers |  |  |  |  |
| HVAC- Condensers |  |  |  |  |