SPRING MAINTENANCE

| BUILDING: | DATE/COMMENTS |
| --- | --- |
| Site Maintenance Remove and dispose of all fallen tree limbs, dead shrubs, etc. Remove brush and weed growth adjacent to building walls Reseed worn lawn areas Fertilize lawn Trim and prune shrubs and trees Repair property damaged due to winter plowing Clean all site drains Obtain contract bids for summer yard care and landscaping (if required) Repair potholes in parking lots and driveways Check and service playground equipment Service lawnmowers |  |

2.1

SPRING MAINTENANCE

| BUILDING: | DATE/COMMENTS |
| --- | --- |
| Building Exterior Maintenance Install awnings Remove and store storm windows and install screens as requires Wash windows Replace cracked or missing putty Replace broken window glass Paint building exterior as required Building Interior Maintenance Dispose of all unused books, papers, debris, etc. Clean window, blinds, draperies, etc. monuments, and fences Open crawl space and basement windows for summer vacation |  |

2.2

SPRING MAINTENANCE

| BUILDING: | DATE/COMMENTS |
| --- | --- |
| Mechanical Equipment Maintenance Service all pumps per manual Clean ashes from fireplaces Service all air conditioning equipment. Remove exterior covers and store. Service all ventilating equipment Electrical Equipment Maintenance Check and secure roof and gutter heating cables |  |

2.3

SUMMER MAINTENANCE

| BUILDING: | DATE/COMMENTS |
| --- | --- |
| Site Maintenance Remove any excessive overgrowth Patch, repair, and seal asphalt road and walkway surfaces Repair concrete road and walkway Repair and paint fences |  |

2.4

SUMMER MAINTENANCE

| BUILDING: | DATE/COMMENTS |
| --- | --- |
| Building Interior Maintenance Remove all rubbish, boxes, debris and combustibles from: - Paths of exit - Doorways - Stairs - Under stairs - Furnace and utility rooms - Around flues and chimneys - Around any heating equipment and heat-producing equipment - Around radiators - Electrical panel areas Building Exterior Maintenance Wash all dirt accumulated on building surfaces Remove all ivy from building walls, monuments, and fences Paint building exterior as required Lubricate exterior door hinges and hardware Replace broken glass Replace loose and disintegrated mortar |  |

2.5

SUMMER MAINTENANCE

| BUILDING: | DATE/COMMENTS |
| --- | --- |
| Mechanical Equipment Maintenance Perform test on building fire sprinkler system. Service as required Service heating system Check boiler for any fuel leaks Clean furnace system Check openings or motorized dampers which provide combustion air to boiler room Check boiler cleanout openings, doors etc. For air leakage and corrosion Check for water leaks in boiler and in piping Pump out septic tanks at lease every 4 years Plumbing Maintenance Service well pump and water storage tank Inspect and clean out grease trap Repair or replace broken fixtures Replace washers or packing on leaking faucets, etc. Electrical Equipment Maintenance Replace light bulbs which have burned out |  |

2.6

ROOF CHECKLIST

Warning: Winter is approaching. Winterize your roof with these 10 steps to help prevent leaks:

- A thorough “clean up” of the roof should be done. Debris thrown around on the roof by wind creates many problems. Repair any deteriorated areas of the roof.

____________

- Clean all drains, gutters, and downspouts of debris. Check all gutter seams and seal if necessary.							____________

- All metal cap flashings should be re-caulked where necessary.	____________

- Each H.V.A.C. unit should be checked for the following:

- Condensation pans and drains should be cleaned and checked 	____________

- Unit accessories and panels should be secured and sealed.	____________

- Examine external duct work. Check seals on joints.		____________

- Swamp coolers should be drained and covered. Exterior water lines should be turned off and drained entirely.					____________

- Inspect the domes of skylights for cracks and reseal with non-hazardous sealant, if necessary.								____________

- Check on vents and pipes to make sure they have storm collars and are sealed properly.								____________

- Top off pipe penetration pockets (pitch pans).			____________

- Make certain all exposed fasteners are tight and weather sealant is in good condition. Replace and repair if necessary.				____________

- Check gaskets at roof access doors and hatches for proper fit.	____________

- Keep ice and snow away from drain areas on roofs by clearing a path from the roof center to the drains.

- Be careful when walking on roofs to avoid surface damage and falls.

- Never attempt to melt ice from drains or roof surfaces with blow torches or similar devices.

- Occasionally, it may be necessary to clear your roof of a major snow accumulation. If heights or climbing are involved, seek professional help for this potentially dangerous task. A professional has the knowledge and the tools to do the job safely.

- Please remember ladder safety and use extreme caution while on the roof.

3.1

PLUMBING AND SPRINKLER SYSTEMS – CHECKLIST

It is important to check the plumbing of your building(s) each year to make certain it is in good working condition and protected against freezing. Leaks and burst pipes can cause extensive damage to floors, walls, and your contents. Please review the tips below:

- Insulate all water or drain pipes that travel through poorly heated areas, such as, cupboards closets, and corner areas. Pipes in attics, crawl spaces, exterior walls and other unheated areas are particularly susceptible to freezing.	______

- Wrap the pipes with two layers of one-inch, insulation blanket.

- Secure in place with duct tape. Do not compress the insulation unnecessarily.

- Remove all garden hoses from outside faucets.			____________

- Blow-out and drain lawn sprinkler systems to avoid freeze-up and damage.

____________

- Shut off water services to vacant buildings at the stop box. Open all faucets to drain remaining water.						____________

- Sponge out water in toilet tanks in vacant buildings, and then put a rubber stopper in the toilet bowl.						____________

- Turn off electricity or gas to the water heater in vacant buildings. Drain the water heater and water softener.					____________

- Maintain temperatures of at least 50 degrees Fahrenheit in all areas covered by wet pipe sprinkler systems. Place thermometers in the coldest areas of all buildings and check them often.					____________

- If your wet pipe sprinkler system has a special anti-freeze system, make sure the maintenance company services it.				____________

- If you have a dry sprinkler system, during sub-zero weather you should make daily checks of the auxiliary drains located in cold areas.	____________

- Keep the dry valve enclosure of your dry sprinkler system in good repair and make sure the heating device can maintain a temperature of 50 degrees Fahrenheit.							____________

Often pipes will begin to leak when thawed. Have someone in the building when normal heat is restored to a vacant building.

3.2

FALL MAINTENANCE

| BUILDING: | DATE/COMMENTS |
| --- | --- |
| Site Maintenance Clean all site drains Obtain contract bids for winter snow plowing (if required) Remove brush and weed growth Clean and service lawn mowers Check and service snow blowers |  |

3.3

FALL MAINTENANCE

| BUILDING: | DATE/COMMENTS |
| --- | --- |
| Building Exterior Maintenance Cut back tree limbs resting on building and roofs Install storm windows and weatherstripping Repair and store summer screen windows Replace cracked or missing caulking at doors and windows Remove all exterior awnings Paint building exterior as required Building Interior Maintenance Clean radiators and air registers Close crawl space and basement windows opened for summer ventilation |  |

3.4

FALL MAINTENANCE

| BUILDING: | DATE/COMMENTS |
| --- | --- |
| Mechanical Equipment Maintenance Clean chimney flues as required Cover air conditioners Clean boiler room of all debris Check and service propane gas equipment and piping Clean or replace furnace air filters Electrical Equipment Maintenance Test emergency lighting system Test all exit lights Test fire alarm system Test smoke detectors. Replace batteries if necessary Repair or replace non-functioning switches, receptacles and outlets Replace frayed wiring Plumbing Maintenance See Page 3.2 for checklist |  |

3.5

Winterization - Loss Prevention Strategies

Parishes can prevent slip and fall accidents by looking at the exposures and using loss prevention techniques.

- In winter months, parishes can procure and have shovels, ice choppers, ice melt and sand readily available to treat walkways. And, parishes can organize ushers or other volunteer escorts to accompany elderly, handicapped or other parishioners to and from their vehicles.

- Parishes can alert maintenance persons, ushers or other concerned parishioners to recognize and address slip or fall hazards, such as lifts on stairs, water puddles, torn carpets, “bunched-up” rugs, slipper floor mats, and so on. Doing an ongoing self-inspection (especially during high traffic times like between masses) and having a crew of helpers to fix problems can help immensely.

- Many parishes do not allow rice, birdseed, flower petals or confetti to be thrown on church property at weddings. Especially if you do not have a maintenance staff to clean up afterwards, this would be a prudent policy.

- Many parishes have schools and playgrounds. Parishes should make it a priority to inspect playgrounds, including playground equipment such as jungle gyms and climbing fixtures. Supervision of students during play periods is essential to help discourage horseplay or other unsafe actions that could lead to an injury.

- Slips and falls “on stairs” can result from foreign objects on the steps, loose or no handrails, poor lighting, or a faulty step condition (such as torn carpeting, uneven steps, cracks or crevices.) Parishes should inspect stairs for these conditions and make the appropriate remedies. Warning signs can help alert users to be aware of hazards until further action can be taken.

- Encourage all employees, students, volunteers, etc. to stop and pick up “foreign objects” that they come upon. By keeping our buildings and grounds clear of foreign objects, we will be preventing injuries from slips and falls. We cannot expect one person to do this work. The parishes belong to all of us.

- Do not leave building unattended for extended periods of time during the winter months. Make daily checks, if possible, to ensure that the heating system is operating properly.

3.6

WINTER MAINTENANCE

| BUILDING: | DATE/COMMENTS |
| --- | --- |
| Building Interior Maintenance Patch and paint damaged and faded walls and ceilings Refinish damaged or peeling interior wood trim Paint or refinish handrails, doors, windows, etc. Clean entry floors of exterior salt and sand |  |

3.11

WINTER MAINTENANCE

| BUILDING: | DATE/COMMENTS |
| --- | --- |
| Mechanical Equipment Maintenance Clean or replace furnace air filters monthly during December, January and February Check water levels in boiler and blow down boiler water once weekly Bleed air from radiators Electrical Equipment Maintenance Clean light fixtures and replace light bulbs which have burned out Test all exit lights |  |

3.12

ROOF CHECKLIST

Warning: Winter is approaching. Winterize your roof with these 10 steps to help prevent leaks:

- A thorough “clean up” of the roof should be done. Debris thrown around on the roof by wind creates many problems. Repair any deteriorated areas of the roof.

____________

- Clean all drains, gutters, and downspouts of debris. Check all gutter seams and seal if necessary.							____________

- All metal cap flashings should be re-caulked where necessary.	____________

- Each H.V.A.C. unit should be checked for the following:

- Condensation pans and drains should be cleaned and checked 	____________

- Unit accessories and panels should be secured and sealed.	____________

- Examine external duct work. Check seals on joints.		____________

- Swamp coolers should be drained and covered. Exterior water lines should be turned off and drained entirely.					____________

- Inspect the domes of skylights for cracks and reseal with non-hazardous sealant, if necessary.								____________

- Check on vents and pipes to make sure they have storm collars and are sealed properly.								____________

- Top off pipe penetration pockets (pitch pans).			____________

- Make certain all exposed fasteners are tight and weather sealant is in good condition. Replace and repair if necessary.				____________

- Check gaskets at roof access doors and hatches for proper fit.	____________

- Keep ice and snow away from drain areas on roofs by clearing a path from the roof center to the drains.

- Be careful when walking on roofs to avoid surface damage and falls.

- Never attempt to melt ice from drains or roof surfaces with blow torches or similar devices.

- Occasionally, it may be necessary to clear your roof of a major snow accumulation. If heights or climbing are involved, seek professional help for this potentially dangerous task. A professional has the knowledge and the tools to do the job safely.

- Please remember ladder safety and use extreme caution while on the roof.

4.1

ROOF INSPECTION

Building _________________________	Designation _________________________

| Date | Location |  |  |  |  | Inspector |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Is Roof Leaking? | YES |  |  | NO |  | (Circle One |  |
| Location |  |  |  |  |  |  |  |
| What repairs have been made to roof since last inspection? |  |  |  |  |  |  |  |
| Inspection Notes: |  |  | A = Good, Sound Condition B = Minor Problem. No Repairs Needed Now C = Minor Problem. We Can Repair It D = Outside Assistance Needed E = Outside Assistance Needed Immediately |  |  |  |  |
| ITEM |  | NOTES: |  |  | ITEM |  | NOTES: |
| 1. Roof Condition |  |  |  |  | 6. Wall |  |  |
| A. General Appearance |  |  |  |  | Mortar Joints |  |  |
| Debris |  |  |  |  | Spalling |  |  |
| Drainage |  |  |  |  | Movement Cracks |  |  |
| Physical Damage |  |  |  |  | 7. Roof Edge/Fascia |  |  |
| B. Surface Preparation |  |  |  |  | Splitting |  |  |
| Bare Spots |  |  |  |  | Securemeant |  |  |
| Alligatoring |  |  |  |  | Rusting |  |  |
| 2. Membrane Condition |  |  |  |  | Fasteners |  |  |
| Blistering |  |  |  |  | Wind Damage |  |  |
| Splitting |  |  |  |  | Gutter Condition |  |  |
| Ridging |  |  |  |  | 8. Roof Penetrations |  |  |
| Vegetation/Foilage |  |  |  |  | A. Pitch Pans |  |  |
| Punctures |  |  |  |  | Shrinkage |  |  |
| Slippage |  |  |  |  | Attachment |  |  |
| 3. Base Flashing |  |  |  |  | B. Equipment/Operation |  |  |
| Punctures |  |  |  |  | Contaminants |  |  |
| Deterioration |  |  |  |  | Traffic Damage |  |  |
| Blistering |  |  |  |  | C. Roof Jacs/Vent |  |  |
| Open Laps |  |  |  |  | Attachments |  |  |
| Attachment |  |  |  |  | Physical Damage |  |  |
| Ridging or Wrinkling |  |  |  |  | Vents Operable |  |  |
| 4. Counterflashing |  |  |  |  | Rusting |  |  |
| Open Laps |  |  |  |  | 9. Expansion Joints |  |  |
| Punctures |  |  |  |  | Open Joints |  |  |
| Attachments |  |  |  |  | Punctures |  |  |
| Rusting |  |  |  |  | Fractures |  |  |
| Fasteners |  |  |  |  | Securement |  |  |
| Caulking |  |  |  |  | Rusting |  |  |
| Wind Damage |  |  |  |  | Fasteners |  |  |
| 5. Coping |  |  |  |  |  |  |  |
| Open Fractures |  |  |  |  |  |  |  |
| Attachment |  |  |  |  |  |  |  |
| Fasteners |  |  |  |  |  |  |  |
| Rusting |  |  |  |  |  |  |  |
| Caulking |  |  |  |  |  |  |  |

4.2